## Slide 1: Final Review AGENDA:
AMOG Public Presentation
14:00-14:10 Welcome and introduction (ESA)
14:10-14:50 AMOG Final Presentation (DTU/NIO)
14:55-15:10 AMOG Technical Status Presentation (DTU/PLT)
15:10- 15:30 Q&A
15:30-15:50 Coffee
AMOG Contractual Meeting
15:50-17:00 Review and agreement of RID's.(Discussion)
      Address comments which have been raised on the documents if any and questions that will be asked live- some comments might result in updates
17:00-17:30 Conclude and Agree on way forward (Discussion)
      Review the schedule and anticipate on next steps until the contract closure
      Assess whether the FR is successful
      After that, discuss on possible follow-on
AOB

## Slide 2: AMOG Advanced MOnitoring of Geospace using Satellite Platform Magnetometers
Nils Olsen (DTU Space)

## Slide 3: Study Goal and Study Logic
Most satellites carry magnetometer for navigational purposes as part of their AOCS (Attitude and Orbit Control System) The data of these AOCS (= “platform”) magnetometers have scientific value but proper data calibration and processing is essential
The AMOG Project tackles this from two sides:
Sensor, platform, satellite design, programmatics: Review of available AOCS magnetometers Guideline for a magnetic cleanliness program AMOG Questionnaire
Data: analysis of existing AOCS magnetometer data Identification and selection of satellites providing AOCS magnetometer data Analysis of test data sets Operational processing for selected “good” satellites
In this presentation: “Data-driven approach”
“Why and How ?”

## Slide 4: Thanks!
The generous support by the
CryoSat Aeolus EarthCARE Biomass AWS SMOS Proba-2 GRACE-FO
teams for spending their time and providing data is greatly acknowledged! This study would not have been possible without your support.

## Slide 5: Why? Remote Sensing of Electric currents in Geospace by Magnetic Measurements
Magnetospheric Ring-current

## Slide 6: Application: Monitoring of Magnetospheric Ring-current activity Low-latitude variation of horizontal component variation
Independent observation of time-evolution of magnetospheric ring-current with magnetic data from 6 satellites …
… and comparison with Dst-index derived from ground magnetic data

## Slide 7: Application: Monitoring of Magnetospheric Ring-current activity Low-latitude variation of horizontal component variation
Horizontal component variation at low latitudes (±10° dipole latitude)
Removal of CHAOS-8.1 core and crustal field
Spherical Harmonic Analysis up to d/o N=3 in 1.5-hour bins
Stronger ring-current on evening-side

## Slide 8: Model prediction error s2 on 6 May 2024 18:00 – 19:30
Spatial resolution up the spherical harmonic degree N = 2
Swarm A + B
CryoSat-2

## Slide 9: Model prediction error s2 on 6 May 2024 18:00 – 19:30
Spatial resolution up the spherical harmonic degree N = 3
Swarm A + B
CryoSat-2

## Slide 10: Model prediction error s2 on 6 May 2024 18:00 – 21:00
Spatial resolution up the spherical harmonic degree N = 3
Swarm A + B
CryoSat-2

## Slide 11: Trade-off between good spatial and good temporal resolution
Good spatial resolution (large N) and good temporal resolution (small Dt) requires simultaneous magnetic data from many locations in space

## Slide 12: Model prediction error s2, Dt = 90 min
Swarm A + B
CryoSat-2
Spatial resolution up the spherical harmonic degree N = 3

## Slide 13: Model prediction error s2, Dt = 90 min
ESA EOP satellites
Spatial resolution up the spherical harmonic degree N = 3

## Slide 14: Model prediction error s2, Dt = 30 min
ESA EOP satellites
Spatial resolution up the spherical harmonic degree N = 3

## Slide 15: Model prediction error s2, Dt = 30 min
ESA EOP satellites NASA satellites
Spatial resolution up the spherical harmonic degree N = 3

## Slide 16: Model prediction error s2, Dt = 15 min
ESA EOP satellites NASA satellites
Spatial resolution up the spherical harmonic degree N = 3

## Slide 17: Model prediction error s2, Dt = 15 min
Spatial resolution up the spherical harmonic degree N = 3
Constellation with 25 satellites 5 orbit planes

## Slide 18: Why? Remote Sensing of Electric currents in Geospace by Magnetic Measurements
Magnetospheric Ring-current

## Slide 19: Steps of AOCS Magnetometer Calibration
Transforming raw AOCS magnetometer sensor readings to magnetic field vector in NEC (North, East, Center) frame includes
  Calibration (of the sensor), including temperature dependencies, non-linear effects, …
  Characterisation (of s/c magnetic disturbances), e.g. from magnetorquer activity, battery and solar array currents
  Alignment (of the vector data), requires information on s/c attitude (quaternions)
Estimation of the AOCS magnetometer calibration/characterisation/alignment parameters is typically done on a data subset (e.g. 60 sec sampling, non-polar latitudes) …
… followed by an Application of the estimated parameters to the whole data set (full magnetometer sampling rate, all latitudes)

## Slide 20: How? - Calibration of AOCS Magnetometer Data
Can run automatically
Requires a “scientist-in-the-loop”

## Slide 21: Overview: The various satellite data sets used in this study
Name | NORAD ID | years | altitude
CryoSat-2 | 36508 | 2010 - | ≈ 720 km
SMOS | 36036 | 2009 - | ≈ 760 km
Aeolus | 43600 | 2018 - 2023 | ≈ 320 km
EarthCARE | 59908 | 2024 - | ≈ 395 km
Biomass | 63772 | 2025 - | ≈ 660 km
Proba-2 | 36037 | 2009 - | ≈ 720 km
AWS | 60543 | 2024 - | ≈ 600 km
GRACE-FO C | 43476 | 2018 - | ≈ 500 km
GRACE-FO D | 43477 | 2018 - | ≈ 500 km
Main challenges: AOCS magnetometer only active in safe mode: no continuous data
Coarse magnetometer sampling rate: 10 sec or lower (1 sec is appreciated)
Data resolution, e.g. 1 mT (1 nT is appreciated)
Large magnetic disturbances from s/c
Green: “operational” data processing and provision Yellow: on hold, e.g. because of large magnetic disturbances or insufficient input data

## Slide 22: Magnetic Data from CryoSat-2
Launched in April 2010 – and still in operation
720 – 730 km altitude, 92° orbital inclination
3 AOCS vector Fluxgate magnetometers (FGMs), 4 sec sampling
3 Star imagers (STRs)
House-Keeping (HK) data available: magnetorquer currents, magnetometer temperature, …

## Slide 23: Calibration of a satellite Fluxgate vector magnetometer
Calibration is done by minimization of difference DF2 = (|BFGM|– |Bref|)2 where BFGM is measured magnetic field and |Bref| is reference magnetic field strength at same position and time
On dedicated magnetic satellites like Swarm: Reference magnetic field strength |Bref| is provided by second absolute scalar magnetometer
For other satellites: |Bref| is given by CHAOS model of Earth’s magnetic field (core, crust, large-scale magnetosphere + induced contributions)
Cryosat-2: Estimation of 12 basic calibration parameters in monthly bins (200 x 12 parameters) Model regularisation to minimize month-to-month variability
Calibration includes estimation of time-varying magnetic disturbances due to Magnetorquer action, Solar arrays and battery currents, magnetometer non-linearities
4 second sampling rate, 16 years: April 2010 – December 2025 (200 months) In total 2472 model parameters estimated by robust non-linear Least-Squares from 16.5 mio observations (= 3 x 5.5 mio vector triplets)

## Slide 24: Magnetic field strength F = |B| August 2018
observed Fobs
model Fmod
CryoSat-2
Swarm A
430 km altitude
720 km altitude

## Slide 25: Magnetic field strength F = |B| August 2018
Swarm A
DF = Fobs – Fmod
CryoSat-2, uncalibrated
Polar ionospheric currents

## Slide 26: Magnetic field strength F = |B| August 2018
CryoSat-2, calibrated
Swarm A
DF = Fobs – Fmod
Polar ionospheric currents
weaker in CryoSat, due to higher altitude

## Slide 27: Magnetic field strength F = |B| August 2018
CryoSat-2, calibrated
Swarm A
DF = Fobs – Fmod
dayside
nightside
1.9 nT rms measurement error: < 0.5 nT
6 nT rms
Polar ionospheric currents
magnetospheric ring-current

## Slide 28: CryoSat-2
The Flagship AMOG mission – pushing the border of AOCS magnetometer processing
Data since April 2010, 4 sec sampling rate, 3 FGM magnetometers, 3 Star Tracker
Operational processing since January 2025: processed in monthly batches, typically on 5th of each month Daily CDF files in “Swarm-like” format distributed through Swarm data server ftp://swarm-diss.eo.esa.int/Multimission/CryoSat-2
Proper determination of the time variation of the calibration parameters requires re-processing of the last few months of data, due to temporal smoothing of these parameters (minimizing month-to-month variation). For the operational processing we assume constant extrapolation of these parameters for up to 12 months, after which a recalibration of whole data period from BOM is performed
4-sec data version 0305 based on estimated parameters using data Aug 2010 - Dec 2025
New: Change in onboard operation and telemetry allows to obtain 1 sec data since Sept 2025 Operational processing of 1 sec data (version 0402, will replace the 4 sec 0305 data)

## Slide 29: CryoSat-2 – the various disturbance fields

## Slide 30: CryoSat-2 81-daily running mean of daily rms wrt CHAOS model

## Slide 31: Aeolus
August 2018 – July 2023
Magnetoresistive magnetometer (no fluxgate)
Huge magnetorquer disturbances (same magnitude as Earth’s magnetic field) accounting for non-linear relation between IMTQ and BMTQ
“Operational” processing of whole mission, daily CDF files May 2019 – June 2023 10 sec sampling, Time, position, B, attitude quaternions, MTQ, solar array and battery currents

## Slide 32: Aeolus
Despite the larger rms (30 nT) compared to CryoSat-2 (< 10 nT):
Clear geophysical signal, in particular at polar latitudes (FACs)

## Slide 33: Magnetorquer current and magnetic disturbance
CryoSat-2 GRACE Aeolus

## Slide 34: Magnetorquer current and magnetic disturbance
[nT/mA]
MTQ response is 50 times larger for GRACE and Aeolus compared to CryoSat-2
In addition, Aeolus MTQ currents are 3 times larger than those of GRACE/CryoSat-2
But still it is possible to correct for the Aeolus magnetorquer disturbance!

## Slide 35: PROBA-2
Launched on 2 Nov 2009, sun-synchronous (dawn/dusk), 720 km altitude
Magnetometers:
Credit Card Magnetometer (CCM), Lusospace, (similar instrument as on Aeolus), 10 sec sampling
“A set of magnetometers (ZMM) from ZARM, Germany” We found data from one magnetometer (MM), 30 s sampling (sometimes 3 sec ?)
DTU’s “Science Grade Vector Magnetometer” SGVM: unknown status (no response from instrument team)
Position, attitude, MTQ currents, 2 Battery and 3 Solar Array currents
Rather coarse attitude (sun-sensor, no star tracker ?)
Sun pointing, with “fixed” attitude for 30 minutes, followed by rather abrupt change
MTQ currents are zero apart from the attitude changes
For our calibration we only use data when no MTQ action
CMM period: end March 2010 – Nov 2014
MM period: March 2010 – Dec 2025, rms = 80 nT

## Slide 37: AMOG Work Logic